# ELITE 64 V2.00+ Up/Download PC Software Installation

INSTALLING FOR THE FIRST TIME

# INSTALLING THE SOFTWARE

If a previous version of the software is already installed it is important that you first remove the existing software before installing the latest version otherwise the update will not have all of the new features and options. To remove earlier software go to “START” then “All PROGRAMS”, then “Upload Download” then “ULD64”. From there select “Remove ULD64”. The software will remove the old program but leave all customer database information and login password files intact (ULD64.cf).

To install the software, insert the CD into the CD drive.

Next, select “Run” from the start menu.

Type in; D:\setup.exe (where “D” denotes the default CD drive, if the drive letter is different use the correct letter for that PC),

then select “OK”.

(The program will automatically install itself).

When you get to the prompt that asks for the “Product registration Code” leave this field blank and select the “Proceed’ button.

The software will automatically create a new folder called “ULD64” and install itself in the following area on your computers “C:” drive;

C:\Program Files\Upload Download\ULD64

It will also create a new Icon on your Desktop called ULD64.

### LOGGING ON TO THE PROGRAM

## Double click on this Icon and the new program will run automatically.

## The default LOGIN Name and PASSWORD are listed below.

DEFAULT LOGIN NAME = “ELITE64”

DEFAULT PASSWORD  = “ELITE64”

#### CHANGING YOUR PASSWORD

To change this password select “File”, “Passwords” then “Edit Existing”.

Then in the “Login Name” window type “ELITE64” then press the “Enter” button.

You may now put in your new password then confirm it in the second entry. At this point you can go back to the login name and change it to your own name.

When finished, press “OK” to save the changes. You may also create new users and their individual passwords with limited access to various operations by not ticking any of the option boxes when setting them up.

#### BACKING UP YOUR DATABASE

NOTE: All panel databases’, login names and passwords are stored in the encrypted “uld64.cf” file. It is important to back up this file to a CD or Floppy disk regularly so that your database can be re-instated in the case of a system failure. You may either copy this file to a backup disk or you can export individual database files using the “File”, “Configuration”, “Export” option.

NOTE: If multiple languages are supplied with the software and the language is changed to a new language, it is advisable to close down the program after the new language has been fully loaded to ensure that all new text fields are updated correctly. This only needs to be done once after changing the language, from then on all of the correct text will be loaded automatically each time the program is run.