# Alert 8D V8.61+ Up/Download PC Software Installation

# INSTALLING THE SOFTWARE

If a previous version of the software is already installed it is important that you first remove the existing software before installing the latest version otherwise the update will not have all of the new features and options.

To install the software, insert the disk labeled Disk 1 of 2 into the floppy drive.

Next, select “Run” from the start menu.

Type in; A:\setup.exe (use B:\setup.exe if using the B drive), then select “OK”.

(The program will automatically install itself).

When you get to the prompt that asks for the “Product registration Code” leave this field blank and select the “Proceed’ button.

When the installation process asks for Disk 2, remove Disk 1 from the floppy drive replacing it with disk 2 of 2 then press “Enter”.

The software will automatically create a new folder called “8 Zone Upload Download” and install itself in the following area on your computers “C:” drive;

C:\Program Files\Upload Download\8 Zone Upload Download

It will also create a new Icon on your Desktop called ULD8.

The software is fully backward compatible with all earlier versions of the Alert panels

The upload/download software will call for an ID number following installation and running of the program for the first time.

This ID number is: A517-9AB5-54D6

### LOGGING ON TO THE PROGRAM

## Double click on this Icon and the new program will run automatically.

## The default LOGIN Name is listed below.

DEFAULT LOGIN NAME = “Alert8”